{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["配电房综合单价报价表","机柜间综合单价报价表"],"read":"whole","date_system":"1900"}

{"sheet":"配电房综合单价报价表","index":0,"n_rows":56,"n_cols":13,"rows_kept":56,"merged":[[0,0,0,12],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,1,8],[1,9,1,11],[1,12,2,12],[52,0,52,4],[52,5,52,10],[52,11,52,12],[53,0,53,4],[53,5,53,10],[53,11,53,12],[54,0,54,4],[54,5,54,10],[54,11,54,12],[55,0,56,0],[55,1,56,12]]}
["醋酸一期技改配电房电气与消防给排水专业综合单价报价表"]
["序号","名  称","型   号   规   格","单位 ","数量","材料价（乙供）",{"$nulls":3},"安装价",null,null,"备 注"]
[{"$nulls":5},"品牌","单位","单价","合计\n(元)","单位","综合单价","合 计\n（元）"]
[1,"照明配电箱","背标（IP34）","个",1,null,"元/个",null,null,"元/个",null,null,"见图纸202201-14-110D03/0"]
[2,"应急照明配电箱","TY-D-1kVA-36L","个",1,null,"元/个",null,null,"元/个",null,null,"见图纸202201-14-110D04/0"]
[3,"双管LED荧光灯","220V 2*36W(附电子镇流器)","套",24,null,"元/套",null,null,"元/套"]
[4,"LED安全出口指示灯","36V 1W消防部门认可产品","套",2,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于180分钟"]
[5,"LED疏散指示灯","36V 2W消防部门认可产品","套",6,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于181分钟"]
[6,"应急LED灯","36V 6W消防部门认可产品","套",9,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于182分钟"]
[7,"单联翘板式暗开关","250V  10A","个",4,null,"元/个",null,null,"元/个"]
[8,"单相二三眼插座","250V  10A（IP34）","个",8,null,"元/个",null,null,"元/个"]
[9,"暗装三相五眼空调插座","380V  16A（IP35）","个",4,null,"元/个",null,null,"元/个"]
[10,"阻燃电力电缆","ZBN-YJV-0.6/1kV 3*50+2*25mm2","米",10,null,"元/米",null,null,"元/米"]
[11,"阻燃电力电缆","ZBN-YJV-0.6/1kV 5*10mm2","米",10,null,"元/米",null,null,"元/米"]
[12,"阻燃电力电缆","ZBN-YJV-0.6/1kV 5*6mm2","米",10,null,"元/米",null,null,"元/米"]
[13,"阻燃电力电缆","ZBN-BV-450/750V 3*4","米",80,null,"元/米",null,null,"元/米"]
[14,"阻燃电力电缆","ZBN-BV-450/750V 3*2.5","米",160,null,"元/米",null,null,"元/米"]
[15,"阻燃电力电缆","ZBN-BV-450/750V 5*4","米",100,null,"元/米",null,null,"元/米"]
[16,"感烟探测器","JTY-GM-GST9611","套",6,null,"元/套",null,null,"元/套",null,null,"防护等级IP34"]
[17,"声光报警器","GST-HX-MN100C","个",2,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[18,"手动报警按钮","J-SAM-GST9121","个",2,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[19,"接线端子箱","GST-JX100","个",1,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[20,"火灾显示盘","GST-ZF-500Z","个",1,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[21,"消防电话","GST-TS-100A","个",1,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[22,"阻燃塑料芯导线","ZBN-BV-450/750V 25mm2","米",60,null,"元/米",null,null,"元/米"]
[23,"火灾报警线","ZBN-RVS-450/750V-2*1.5mm2","米",110,null,"元/米",null,null,"元/米"]
[24,"火灾报警线","ZBN-RVS-450/750V-2*2.5mm2","米",40,null,"元/米",null,null,"元/米"]
[25,"火灾报警线","WDZBN-BYJ-3*1.5mm2","米",10,null,"元/米",null,null,"元/米"]
[26,"火灾报警线","NH-KVV-450/750V-8*2.5mm2","米",300,null,"元/米",null,null,"元/米"]
[27,"镀锌焊接钢管","SC20","米",280,null,"元/米",null,null,"元/米"]
[28,"镀锌焊接钢管","SC25","米",260,null,"元/米",null,null,"元/米"]
[29,"镀锌焊接钢管","SC32","米",120,null,"元/米",null,null,"元/米"]
[30,"镀锌焊接钢管","SC40","米",10,null,"元/米",null,null,"元/米"]
[31,"总等电位连接箱","HFD1-MEB","个",1,null,"元/个",null,null,"元/个"]
[32,"防雷网","热镀锌圆钢Φ10","米",80,null,"元/米",null,null,"元/米"]
[33,"接地网","热镀锌扁钢40*4","米",75,null,"元/米",null,null,"元/米"]
[34,"阻燃电力电缆","WDZN-BYJ-3*4mm2","米",30,null,"元/米",null,null,"元/米"]
[35,"阻燃电力电缆","NH-BVS-2*2.5mm2","米",120,null,"元/米",null,null,"元/米"]
[36,"灭火器","MFZ/ABC5","个",4,null,"元/个",null,null,"元/个"]
{"$rows_empty":13}
["材料价合计（元）"]
["安装费合计（元）"]
["固定总价（元）"]
[null,"备注：1、以上价格均为含税价，税率9%。                                 \n      2、施工期间如使用发包方材料，结算时将予以扣除、开标前已施工工程量将在结算时扣除。                 \n      3、投标方采购材料单价应标明单位如元/吨、元/米等。 "]

{"sheet":"机柜间综合单价报价表","index":1,"n_rows":46,"n_cols":13,"rows_kept":46,"merged":[[0,0,0,12],[1,0,2,0],[1,1,2,1],[1,2,2,2],[1,3,2,3],[1,4,2,4],[1,5,1,8],[1,9,1,11],[1,12,2,12],[42,0,42,4],[42,5,42,10],[42,11,42,12],[43,0,43,4],[43,5,43,10],[43,11,43,12],[44,0,44,4],[44,5,44,10],[44,11,44,12],[45,0,46,0],[45,1,46,12]]}
["醋酸一期技改机柜间电气与消防给排水专业工程量清单（综合单价报价表）"]
["序号","名  称","型   号   规   格","单位 ","数量","材料价（乙供）",{"$nulls":3},"安装价",null,null,"备 注"]
[{"$nulls":5},"品牌","单位","单价","合计\n(元)","单位","综合单价","合 计\n（元）"]
[1,"111AL配电箱","PZ-30（暗装）","个",1,null,"元/个",null,null,"元/个",null,null,"见图纸202201-14-111D04/0"]
[2,"111EL配电箱","GXL-2改（暗装）","个",1,null,"元/个",null,null,"元/个",null,null,"见图纸202201-14-111D04/0"]
[3,"双管LED荧光灯","220V 2*36W(附电子镇流器)","套",20,null,"元/套",null,null,"元/套"]
[4,"LED安全出口指示灯","36V 1W消防部门认可产品","套",2,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于180分钟"]
[5,"LED疏散指示灯","36V 2W消防部门认可产品","套",7,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于181分钟"]
[6,"应急LED灯","36V 6W消防部门认可产品","套",5,null,"元/套",null,null,"元/套",null,null,"自带蓄电池，应急照明时间不少于182分钟"]
[7,"单联翘板式暗开关","250V  10A","个",5,null,"元/个",null,null,"元/个"]
[8,"双联翘板式暗开关","250V  10A","个",2,null,"元/个",null,null,"元/个"]
[9,"单相二三眼插座","250V  10A（IP34）","个",10,null,"元/个",null,null,"元/个"]
[10,"暗装三相五眼空调插座","380V  16A（IP35）","个",3,null,"元/个",null,null,"元/个"]
[11,"集中电源箱","0.25kVA","个",1,null,"元/个",null,null,"元/个"]
[12,"灯具电线","BV 3*25mm2","米",150,null,"元/米",null,null,"元/米"]
[13,"吸顶灯",null,"个",4,null,"元/个",null,null,"元/个"]
[14,"阻燃电力电缆","ZBN-YJV-0.6/1kV 5*6mm2","米",100,null,"元/米",null,null,"元/米"]
[15,"阻燃电力电缆","ZBN-BV-450/750V 3*2.5","米",40,null,"元/米",null,null,"元/米"]
[16,"感烟探测器","JTY-GM-GST9611","套",7,null,"元/套",null,null,"元/套",null,null,"防护等级IP34"]
[17,"声光报警器","GST-HX-MN100C","个",4,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[18,"手动报警按钮","J-SAM-GST9121","个",2,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[19,"接线端子箱","GST-JX100","个",1,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[20,"消防电话","GST-TS-100A","个",1,null,"元/个",null,null,"元/个",null,null,"防护等级IP34"]
[21,"阻燃塑料芯导线","ZBN-BV-450/750V 25mm2","米",30,null,"元/米",null,null,"元/米"]
[22,"应急疏散灯具线","ZBN-RVS-450/750V-2*2.5mm2","米",140,null,"元/米",null,null,"元/米"]
[23,"镀锌焊接钢管","SC20","米",430,null,"元/米",null,null,"元/米"]
[24,"镀锌焊接钢管","SC25","米",10,null,"元/米",null,null,"元/米"]
[25,"镀锌焊接钢管","SC32","米",100,null,"元/米",null,null,"元/米"]
[26,"消防电话线","ZBN-RVVP-2*1.0","米",20,null,"元/米",null,null,"元/米"]
[27,"室外总线","ZBN-DJYPVP22-5*(2*4)","米",300,null,"元/米",null,null,"元/米"]
[28,"输入输出模块",null,"个",2,null,"元/个",null,null,"元/个"]
[29,"隔离模块",null,"个",4,null,"元/个",null,null,"元/个"]
[30,"监控布线",null,"米",200,null,"元/米",null,null,"元/米"]
[31,"灭火器","MFZ/ABC5","个",4,null,"元/个",null,null,"元/个"]
[32,"柜式七氟丙烷灭火装置","双瓶组，每瓶120kg","套",2,null,"元/套",null,null,"元/套"]
[33,"柜式七氟丙烷灭火装置","单瓶组，每瓶120kg","套",1,null,"元/套",null,null,"元/套"]
[]
[]
[]
[]
[]
[]
["材料价合计（元）"]
["安装费合计（元）"]
["固定总价（元）"]
[null,"备注：1、以上价格均为含税价，税率9%。                                 \n      2、施工期间如使用发包方材料，结算时将予以扣除、开标前已施工工程量将在结算时扣除。                 \n      3、投标方采购材料单价应标明单位如元/吨、元/米等。 "]